MANUFACTURER ENQUIRY FORM [(GIS/E34:2021)](https://www.energynetworks.org/assets/images/Resource%20library/GIS-E34%202021.pdf)

This is a copy of the ‘Enquiry Form for Regulator Models’ (inlet pressures 75mbar to 7bar) from [**GIS/E34:2021 – Annex A**](https://www.energynetworks.org/assets/images/Resource%20library/GIS-E34%202021.pdf)**,** to be completed and sent to the equipment supplier.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MODULE ENQUIRY FORM** | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| (Inlet pressure above 75mbar up to 7bar) | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **TO:** | | | | | | | Name of qualified supplier: | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Form completed by: | | | | | | |  | | | | | | | | | | | | | | | | | | | | | Date: | | |  | | | | | | |
| **FROM:** | | | | | | | Contact name: | | | | | | | |  | | | | | | | | | | | | | | | | | | | | | | |
| Site name and address: | | | | | | | |  | | | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | |
| Project Reference: | | | | | | | |  | | | | | | | | | | | | | | | | | | | | | | |
| Gas Transporter’s Address: | | | | | | | |  | | | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | |
| Telephone No: | | | | | | | |  | | | | | | | | | | Email: | | | | | |  | | | | | | |
| **DESIGN PARAMETERS** | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | Minimum | | | | | | | | | | | | | | | Normal | | | | | | | | | | Maximum | | | | | | |
| Inlet pressure (bar) | | | | | |  | | | | | | | | | | | | | | |  | | | | | | | | | |  | | | | | | |
| Outlet pressure (bar) | | | | | |  | | | | | | | | | | | | | | |  | | | | | | | | | |  | | | | | | |
| Flow rate (scm/h) | | | | | |  | | | | | | | | | | | | | | |  | | | | | | | | | |  | | | | | | |
| Mode of operation | | | | Slamshut + Monitor + Active | | | | | | | | | | | | | | | | |  | | | Slamshut + Active | | | | | | | | | | | |  | |
| Slamshut + 2 Stage Control + Monitor Override | | | | | | | | | | | | | | | | |  | | | Monitor + Active | | | | | | | | | | | |  | |
| **CONTROL REQUIREMENTS** | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Direct Acting | |  | | | Auxiliary Control | | | | | | | |  | | | Profile Control | | | | | |  | | If Other Specify | | | | | | | | |  | | | | |
| Stream Discrimination Type | | | | | | | | | Non-Return Valve | | | | | |  | | | Pilot Operated | | | | | |  | | | | If Other Specify | | | | | | |  | | |
| **TYPE OF LOAD** | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Network |  | | I&C | | | | |  | | | Gas Turbine/Boiler/Peaking Power Plant | | | | | | | | | | | | | | | |  | | Other | | | | |  | | | |
| If other specify: | | | | | | | | | | |  | | | | | | | | | | | | | | | | | | | | | | | | | | |
| If Gas Turbine/Boiler/Peaking Power Point, answer the following questions: | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| What is Qmax before shutdown? | | | | | | | | | | | | | | | | |  | | | | | |  | | | | | | | | | | | | | | |
| What is time to start up/shutdown? | | | | | | | | | | | | | | | | |  | | | | | |
| Volume of pipe between installation and appliance? | | | | | | | | | | | | | | | | |  | | | | | |
| **COMPONENT SET POINTS, ACCURACY GROUP (AG) AND ACCURACY CLASSES (AC)** | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **Main Components** | | | | | **Set Point** | | | | | | | | | **AG/AC** | | | | | | **Auxiliary Components** | | | | | | | | | | | **Set Point** | | | | | | |
| Slamshut valve | | | | | bar | | | | | | | | |  | | | | | | Load Limit Pilot (J) | | | | | | | | | | | bar | | | | | | |
| 1st Stage/Monitor Regulator | | | | | bar | | | | | | | | |  | | | | | | Auxiliary Relief (J Relief) | | | | | | | | | | | bar | | | | | | |
| Active Regulator | | | | | bar | | | | | | | | |  | | | | | | Active Pilot/High Limit Pilot | | | | | | | | | | | bar | | | | | | |
| Creep Relief | | | | | bar | | | | | | | | |  | | | | | | Profile Control Pilot | | | | | | | | | | | bar | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | Low Limit Pilot | | | | | | | | | | | bar | | | | | | |
| Other, specify | | | | | | | | | | | bar | | | | | | |
| **SPECIFIC REQUIREMENTS** | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Commissioning assistance required? | | | | | | | | | | Yes | |  | | | No | |  | | Training required? | | | | | | | Yes | | | |  | | No | | | | |  |
| Delivery required by: | | | | | | | | | |  | | | | | | | | | | | | | | | |  | | | | | | | | | | | |
| Shipping conditions: | | | | | | | | | |  | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Delivery location/offloading on site: | | | | | | | | | |  | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| **ADDITIONAL REQUIREMENTS** | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Any requirements additional to those within the specification to be listed below: | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |