# SGN TPC – SERVICE CARD (NEW LAY)

| SGN Project Ref. |  | UIP Reference |  |
| --- | --- | --- | --- |
| Job Type | ☐ Service New Connection | ☐ Service Alteration (for the new laid section only) |  |
| MPRN |  | Meter Serial No |  |
| Easting |  | Northing |  |
| Address: |  |  |  |

| Test 1 - Details |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date Tested |  | Duration of Test |  |  |  |  |  | Competent Person |  |
| Start Time |  | End Time |  |  |  |  |  | Pay No. / Resource No |  |
| Pressure Test (M) | 0.1 bar | 0.35 bar |  | 3 bar |  |  |  | Company |  |
| Allowable Pressure Loss = Nil |  |  | Pass (P) or (F) |  |  |  |  | Job Role |  |
| Instrument Serial No. for 3 bar Tests = |  |  |  |  |  |  |  | I can confirm that the pressure test and purge were completed in accordance with current procedures. Signed by Competent Person. |  |

| Service Length |  |  | Dual Service Indicator | Y or N |  | Left | Right |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Service Termination | SHA Service Head Adaptor | HET House Entry Tee |  |  | CE Cellar Entry |  |  |
|  | SMB Surface Mounted Box | CIB Cavity Inset Box |  |  | SCB Semi-Concealed Box |  |  |
|  | UNIB Unibox | FE Factory Entry |  |  | GEB Garage Entry Bend |  |  |
|  | CHE Corbelled House Entry |  |  |  |  |  |  |

| Service Span 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Asset ID (SGN) |  |  |  |  |  |  |  |  |  |  |  |  |  | Length (Measured On Site) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Start Location |  |  | Main |  | Other Specify |  |  |  |  |  |  | End Location |  |  |  | Meter |  |  |  |  | Other Specify |  |  |  |  |  |  |
| Span 1 Pressure |  |  | LP Low Pressure |  |  |  |  |  | MP Medium Pressure |  |  |  |  |  |  |  | IP Intermediate Press |  |  |  |  |  |  | Flow Restrictor Y/N |  |  |  |
| Diameter | 16 | 20 | 25 | 32 |  | 40 | 63 |  | 75 |  |  |  | 90 |  |  |  |  | 125 |  |  |  | 180 |  |  |  |  | Other /specify |
| & SDR |  |  |  |  |  |  | 11 or17 |  | 11 or17 or 21 |  |  |  | 11 or17 or 21 |  |  |  |  | 11 or17 or 21 |  |  |  | 11 or17 or 21 |  |  |  |  |  |
| Material |  |  | FP Flexible PE |  |  |  | GL Galv. Steel |  |  |  | PE Polyethylene |  |  |  | ST Yellow Wrapped |  |  |  |  |  |  | SS Stainless Steel |  |  |  |  |  |
| Grade |  |  | ------- |  |  |  | L2 |  |  | MX Yellow or HP Striped (Profuse) or HD Orange |  |  |  |  |  |  |  |  |  |  |  |  | L2 Steel |  |  |  |  |
| Joint Type |  |  | EF Electro-fusion |  |  |  | CO Compression |  |  |  | BF Butt fused |  |  |  | TH Threaded |  |  |  |  | MC Mech. Coupling |  |  |  |  |  | WE Welded |  |
| Pipe Orientation |  |  | HB Horiz Below Grnd |  |  |  |  | HA Horiz Above Grnd |  |  |  |  | HL Horiz Lateral |  |  |  |  |  | VA Vertical Above Grnd |  |  |  |  |  | VB Vert Below Grd |  |  |
| Method Laid |  |  | ID Insert Dead |  |  |  |  | GM Ground Mole |  |  |  |  | OC Open Cut |  |  |  |  |  | AG Above Grnd |  |  |  |  |  | Other /specify |  |  |

Comments

ECV Information

- Size: - Valve type: - Date installed: - Make: - Manufacture, if available: - Serial number, if available:

| I certify that this is a true record of the work undertaken. Team Leader Name: Signature: Date Completed: | Approved By Team Manager Name: Signature: Date Completed: |
| --- | --- |